## Analog 2
Vertical test | [5 empty] | Horizontal test
Sensor | Dist Read(ft) | Actual(ft) | Dist offset | % Inaccuracy | Angle offset | Sensor | Horizontal Dist(ft) | Dist Read(ft) | Actual(ft) | Dist offset | % Inaccuracy | Angle offset
Analog 2 | 0.46 | 0.5 | 0.04 | 8% | 90 | Analog 2 | 0 | 18.95 | 19 | 0.05 | 0.0026316 | 90
Analog 2 | 0.87 | 1 | 0.13 | 13% | 90 | Analog 2 | -0.5 | 19.08 | 19 | 0.08 | 0.0042105 | 90
Analog 2 | 1.87 | 2 | 0.13 | 6.5% | 90 | Analog 2 | -1.5 | 21.03 | 19 | 2.03 | 10.68% | 90
Analog 2 | 2.83 | 3 | 0.17 | 5.667% | 90 | Analog 2 | -1 | 21.03 | 19 | 2.03 | 10.68% | 90
Analog 2 | 3.85 | 4 | 0.15 | 3.75% | 90 | Analog 2 | -0.75 | 21.03 | 19 | 2.03 | 10.68% | 90
Analog 2 | 4.9 | 5 | 0.1 | 2% | 90 | Analog 2 | 0.125 | 19.7 | 19 | 0.7 | 3.684% | 90
Analog 2 | 9.89 | 10 | 0.11 | 1.1% | 90
Analog 2 | 14.92 | 15 | 0.08 | 0.5333% | 90
Analog 2 | 21.03 | 20 | 1.03 | 5.15% | 90 | Analog 2 read angle
Analog 2 | 20.99 | 21 | 0.01 | 0.04762% | 90 | X/2 | 0.125
Analog 2 | 21.03 | 25 | 3.97 | 15.88% | 90 | y | 19
[6 empty] | theta | 0.75388
[6 empty] | Min Range | 4 | feet
[6 empty] | Max Range | 19 | feet
Note: Hard to read angle because values fluctuated too much

## Analog 1
Vertical test | [5 empty] | Horizontal test
Sensor | Dist Read(ft) | Actual(ft) | Dist offset | % Inaccuracy | Angle offset | Sensor | Horizontal Dist(ft) | Dist Read(ft) | Actual(ft) | Dist offset | % Inaccuracy | Angle offset
Analog 1 | 0.87 | 1 | 0.13 | 13% | 90 | Analog 1 | -0.5 | 21.07 | 20 | 1.07 | 5.35%
Analog 1 | 1.91 | 2 | 0.09 | 4.5% | 90 | Analog 1 | -0.25 | 21.07 | 20 | 1.07 | 5.35%
Analog 1 | 2.87 | 3 | 0.13 | 4.333% | 90 | Analog 1 | -0.1875 | 20.07 | 20 | 0.07 | 0.35%
Analog 1 | 3.87 | 4 | 0.13 | 3.25% | 90
Analog 1 | 4.82 | 5 | 0.18 | 3.6% | 90
Analog 1 | 5.9 | 6 | 0.1 | 1.667% | 90 | Analog 1 read angle
Analog 1 | 6.92 | 7 | 0.08 | 1.143% | 90 | X/2 | 0.188
Analog 1 | 8.02 | 8 | 0.02 | 0.25% | 90 | y | 20
Analog 1 | 9.89 | 10 | 0.11 | 1.1% | 90 | theta | 1.0771
Analog 1 | 14.92 | 15 | 0.08 | 0.5333% | 90 | Min Range | 4 | feet
Analog 1 | 20.05 | 20 | 0.05 | 0.25% | 90 | Max Range | 20 | feet
Analog 1 | 21.05 | 21 | 0.05 | 0.2381% | 90
Analog 1 | 21.07 | 23 | 1.93 | 8.391% | 90
Analog 1 | 21.07 | 25 | 3.93 | 15.72% | 90

## Digital 1
Vertical test | [5 empty] | Horizontal test
Sensor | Dist Read(ft) | Actual(ft) | Dist offset | % Inaccuracy | Angle offset | Sensor | Horizontal Dist(ft) | Dist Read(ft) | Actual(ft) | Dist offset | % Inaccuracy | Angle offset
Digital 1 | 1.04 | 1 | 0.04 | 4% | 90 | Digital 1 | -0.5 | 11.05 | 11 | 0.05 | 0.4545%
Digital 1 | 5.005 | 5 | 0.005 | 0.1% | 90 | Digital 1 | -1.5 | 19.11 | 11 | 8.11 | 73.73%
Digital 1 | 6.99 | 7 | 0.01 | 0.1429% | 90 | Digital 1 | -1 | 19.11 | 11 | 8.11 | 73.73%
Digital 1 | 7.99 | 8 | 0.01 | 0.125% | 90 | Digital 1 | -0.58333 | 11.03 | 11 | 0.03 | 0.2727%
Digital 1 | 8.95 | 9 | 0.05 | 0.5556% | 90
Digital 1 | 9.97 | 10 | 0.03 | 0.3% | 90 | Digital 1 read angle
Digital 1 | 10.96 | 11 | 0.04 | 0.3636% | 90 | X/2 | 0.583
Digital 1 | 19.19 | 12 | 7.19 | 59.92% | 90 | y | 11
[6 empty] | theta | 6.0677
[6 empty] | Max Range | 11 ft